Hello Jon,

There are two items we wanted to note for your BOM review:

1. The PLC stack is missing an end module: the WAGO 750-600.

2. The Edison distribution block is panel mount, not rail mount. We wanted to highlight that since it wasn't mentioned in the notes with the other items.

Best,

Panel Kit